## Information
Metadata
Data EntryID | 87
Entered by | Administrator KiMoSys
Date Added | 2015-05-01
Version | 0
General Information
Manuscript title | Sampling of intracellular metabolites for stationary and non-stationary 13C metabolic flux analysis in Escherichia coli
PubMed ID | 25102204
Journal | Analytical Biochemistry
Year | 2014
Authors | Pierre Millard, Stéphane Massou, Christoph wittmann, Jean-Charles Portais, Fabien Létisse
Affiliations | Université de Toulouse, INSA, UPS, INP, LISBP, F-31077 Toulouse, France; INRA, UMR 792, Ingénierie des Systèmes Biologiques et des Procédés, F-31400 Toulouse, France; CNRS, UMR 5504, F-31400 Toulouse, France
Keywords | Quantitative metabolomics, Metabolism, Sampling procedures
Project name | not specified
Experiment Description
Organism | Escherichia coli
Strain | K-12 MG1655
Data type | metabolites at steady-state
Data Units | mM
Execution date | not specified
Experimental Details
Temperature (0C) | 37
pH | 7
Carbon Source | glucose
Culture mode | batch
Process condition | aerobic
Dilution rate (h-1) | —
Working volume (L) | 0.15
Biomass concentration (g/L) | —
Medium composition | Minimal synthetic medium: 5 mM KH2PO4, 10 mM Na2HPO4, 9 mM NaCl, 40 mM NH4Cl, 0.8 mM MgSO4, 0.1 mM CaCl2, 0.1 g/L thiamine, and 3 g/L glucose. Glucose and thiamine were sterilized by filtration (Minisart polyamide 0.2 μm, Sartorius, Göttingen, Germany), and other solutions were autoclaved separately.
General protocol information | Sampling method: different methods (see Figure 1).
Quenching procedure: different methods (see Figure 1).
Extraction technique: different methods (see Figure 1). Hot ethanol.
Sample analyzing method: different methods (see Figure 1). NMR, GC-MS, LC-MS
Methods description - Notes | Samples were collected using the differential method described in detail in [1]. Briefly, 120 μl of broth or filtered extracellular medium (Sartolon polyamide 0.2 μm, Sartorius) was plunged with 120 μl of fully 13C-labeled cellular extract (used as internal standard) in 5 ml of an ethanol/water (75:25) solution at 95 °C, incubated for 2 min, cooled on ice, and stored at −80 °C. Samples were analyzed by ion chromatography (ICS 2500 system, Dionex, Sunnyvale, CA, USA) coupled with a 4000 QTrap triple quadrupole mass spectrometer (ABSciex, Framingham, MA, USA) equipped with a Turbo V source (ABSciex) for electrospray ionization [2]. The nebulizer gas pressure was 40 psi, the desolvation gas pressure was 50 psi, the desolvation gas temperature was 650 °C, and the capillary voltage was −3.3 kV. Glucose-6-phosphate (G6P), fructose-6-phosphate (F6P), fructose-1,6-bisphosphate (FBP), 6-phosphogluconate (6PG), combined pools of xylulose-5-phosphate, ribose-5-phosphate, and ribulose-5-phosphate (P5P), sedoheptulose-7-phosphate (S7P), phosphoenolpyruvate (PEP), and combined pools of 2- and 3-phosphoglycerate (2/3PG) were analyzed in the multiple reaction monitoring (MRM) mode, and the isotope dilution mass spectrometry (IDMS) method [3] was used to ensure accurate quantification. Fragmentation was done by collision-activated dissociation using nitrogen as the collision gas at medium pressure. The daughter ion was a phosphate group (PO3−m/z = 79 or H2PO4−m/z = 97). Three samples of broth and filtrate were collected at the mid-exponential growth phase (OD600nm ∼ 1.2) and analyzed. From these data, we were able to quantify the relative fractions of intra- and extracellular metabolites in the total pools; we calculated absolute concentrations of intracellular metabolites assuming a cell volume of 1.77 ml/gDW [4]. ------------------------------References------------------------------ [1] H. Taymaz-Nikerel, M. de Mey, C. Ras, A. ten Pierick, R.M. Seifar, J.C. van Dam, J.J. Heijnen, W.M. van Gulik, Anal. Biochem., 386 (2009), pp. 9–19. [2] P. Kiefer, C. Nicolas, F. Letisse, J.-C. Portais, Anal. Biochem., 360 (2007), pp. 182–188. [3] L. Wu, M.R. Mashego, J.C. van Dam, A.M. Proell, J.L. Vinke, C. Ras, W.A. van Windenn, W.M. van Gulik, J.J. Heijnen, Anal. Biochem., 336 (2005), pp. 164–171. [4] C. Chassagnole, N. Noisommit-Rizzi, J.W. Schmid, K. Mauch, M. Reuss, Biotechnol. Bioeng., 79 (2002), pp. 53–73.
Data URL | http://kimosys.org/repository/87

## Intracellular pools
Compound | ChEBI ID | Concentration, method T | 95% CI | Concentration, method E | 95% CI | Concentration, method G | 95% CI | Concentration, 13C-MFA experiments | 95% CI | Unit
G6P | CHEBI:17665 | 1.44 | 1.40-1.51 | 1.52 | 1.37-1.65 | 1.46 | 1.32-1.63 | 1.44 | 0.22 | mM
F6P | CHEBI:15946 | 0.49 | 0.46-0.52 | 0.53 | 0.47-0.54 | 0.45 | 0.40-0.54 | 0.43 | 0.24 | mM
FBP | CHEBI:40595 | 1.98 | 1.89-2.04 | 2.12 | 1.93-2.23 | 1.92 | 1.86-2.01 | 1.86 | 0.34 | mM
GAP | ChEBI:14336 | 0.47 | 0.06-0.86 | 0.17 | 0.01-0.94 | 0.82 | 0.33-1.33 | - |  | mM
DHAP | CHEBI:16108 | 4.9 | 3.75-5.02 | 2.23 | 1.40-4.55 | 3.47 | 3.05-4.89 | - |  | mM
BPG | CHEBI:19324 | 0.1 | 0.01-0.24 | 0.14 | 0.01-0.44 | 0.24 | 0.01-0.59 | - |  | mM
3PG | CHEBI:17794 | 0.61 | 0.48-0.74 | 0.67 | 0.43-0.80 | 0.67 | 0.45-0.78 | 0.89 (1) | 0.04 | mM
2PG | CHEBI:17835 | 0.28 | 0.15-0.41 | 0.22 | 0.08-0.35 | 0.22 | 0.10-0.43
PEP | CHEBI:44897 | 0.11 | 0.10-0.12 | 0.11 | 0.10-0.12 | 0.11 | 0.10-0.12 | 0.11 | 0.02 | mM
6PGI |  | 0.27 | 0.10-0.53 | 0.08 | 0.01-0.45 | 0.14 | 0.02-0.26 | - |  | mM
6PG | CHEBI:48928 | 0.1 | 0.09-0.11 | 0.1 | 0.09-0.11 | 0.1 | 0.09-0.11 | 0.1 | 0.06 | mM
Rb5P | CHEBI:17797 | 0.02 | 0.01-0.05 | 0.02 | 0.01-0.07 | 0.05 | 0.02-0.08 | 0.43 (2) | 0.12 | mM
R5P | CHEBI:17363 | 0.4 | 0.28-0.43 | 0.36 | 0.32-0.42 | 0.35 | 0.23-0.45
X5P | CHEBI:16332 | 0.03 | 0.01-0.09 | 0.05 | 0.01-0.08 | 0.02 | 0.01-0.10
S7P | CHEBI:15721 | 0.06 | 0.01-0.15 | 0.02 | 0.01-0.13 | 0.03 | 0.01-0.13 | - |  | mM
E4P | CHEBI:48153 | 0.15 | 0.05-0.45 | 0.27 | 0.07-0.36 | 0.1 | 0.02-0.39 | - |  | mM
E2 |  | 0.37 | 0.02-0.53 | 0.09 | 0.01-0.78 | 0.06 | 0.01-0.41 | - |  | mM
E3 |  | 0.77 | 0.03-0.96 | 0.14 | 0.02-0.87 | 0.9 | 0.02-1.02 | - |  | mM
KDPG |  | 4.02 | 1.04-5.25 | 3.98 | 1.93-5.03 | 4 | 0.16-4.93 | - |  | mM
DESCRIPTION: Concentrations (mM) and 95% confidence intervals (CI) of intracellular metabolites (intracellular pools) estimated from the dynamic 13C-MFA experiments, and concentrations measured by metabolomics applying the differential method (values represent the mean ± standard deviation of three independent total and filtrate samples). (1) Combined pools of 2PG + 3PG, (2) Combinedd pools of Rb5P + R5P + X5P. (Table S6)